# WP 4.2 Concert
Synchrotron radiation imaging experiments require different methods depending on the process under study. The methods employ large variety of devices and image processing algorithms applied before (focusing), during (optical flow analysis) and after (segmentation) the process is finished. Experiment methods are often dynamic, hence the need to exchange or re-calibrate devices during the measurement process. Therefore, a highly versatile and low-overhead control system for tackling such experiments is needed.
Concert, a Python-based system for controlling beam line experiments has been developed. The main idea is to provide a unified, yet flexible way of conducting various synchrotron radiation experiments. The following list outlines core concepts behind the new system:
- provides a simple and powerful API
- hides latencies by executing long-run operations asynchronously
- user-controlled synchronization of asynchronous processes
- enables monitoring via a messaging system
- integrates the high-performance image processing framework (WP 3)
- reacts on process changes with image-based feedback
- provide a mechanism for on-line optimization due to image-based and hardware feedbacks
Concert is able to control hardware and query it for monitoring changes in experiment conditions. Moreover, it is connected to a high-performance image processing framework in order to obtain image-based feedback. Both feedbacks are then used by a processing and optimization module to calculate optimal experiment parameters on-the-fly. These parameters are set on the device and image processing algorithm, thus closing the control loop.
Concert also provides a session mechanism to manage beam-line experiments. A session is pre-configured by a beam-line scientist with devices and processes. During beam-time the user launches the proper session and can access all hardware that is necessary for a particular experiment.
Figure depicts the overall concept of Concert using UML's Component diagram.